## Sheet1
manufacturer | model | sia_es_long | sia_es_short | website | release_date | market_status | main_use | device_cost | wearable_type | location | size | weight | ppg | ecg | icg | emg | respiration | eda | eeg | bp | accelerometer | gyroscope | gps | skin_temperature | other_signals | water_resistance | battery_life | charging_method | charging_duration | bio_cueing | bio_feedback | raw_data_available | data_trans_method | int_storage_met | server_data_storage | dev_storage_cap_hrs | dev_storage_cap_mb | gdpr_comp | fda_app_clear | ce_app_label | level_validation | no_studies_val_rel_reviewed | no_studies_usab_reviewed
Empatica | E4 | 6.7 | 5 | E4 | 2015-01-01 | Discontinued | Research | 1542 | Watch | Wrist | L44xW40xH16 | 40 | Yes | No | No | No | No | Yes | No | No | Yes | No | No | Yes |  | Yes | 48 | Device charger | 120 | No | Yes | Yes | Bluetooth Low Energy; USB 2.0 | Yes | Yes | 60 | 60 | Yes | No | Yes | External | 10 | 5
Empatica | EmbracePlus | 8 | 5.7 | EmbracePlus | 2020-01-01 | Current | Research & Clinical | 1984 | Watch | Wrist | D32xH15 | 38 | Yes | No | No | No | No | Yes | No | No | Yes | Yes | No | Yes |  | Yes | 48 | Device charger | 90 | No | Yes | Yes | Bluetooth 5.0; Bluetooth Low Energy 4.2 | Yes | Yes | 24 | 128 | Yes | Yes | Yes | Internal | 1 | 0
Vrije Universiteit van Amsterdam | VU-AMS 5fs | 3 | 8.7 | VUAMS5fs | 2007-01-01 | Current | Research | 4550 | CPU + electrodes | Hip | L126xW69xH32 | 260 | No | Yes | Yes | No | Yes | Yes | No | No | Yes | No | No | No |  | No | 24 | Disposable batteries |  | No | No | No | SD-card; Bluetooth | Yes | No |  | 1024 | Yes | No | Yes | External | 3 | 0
Vrije Universiteit van Amsterdam | VU-AMS Core | 4.3 | 7.7 | VUAMSCore | 2024-01-01 | Current | Research | 5995 | CPU + electrodes | Chest | L57xW57xH17 | 52 | No | Yes | Yes | No | Yes | No | No | No | Yes | Yes | No | No |  | No | 28 | Device charger | 180 | No | No | Yes | mircoSD-card | Yes | No |  | 32000 | Yes | No | No | No validation | 0 | 0
Fitbit | Charge 5 | 6.7 | 3.7 | Charge 5 | 2021-01-01 | Current | Consumer | 150 | Watch | Wrist | L36.7xW22.7xH11.2 | 28 | Yes | Yes | No | No | No | Yes | No | No | Yes | No | Yes | Yes | Ambient light sensor | Yes | 168 | Device charger | 120 | No | Yes | No | Bluetooth 5.0; NFC | Yes | Yes |  |  | Yes | Yes | Yes | External | 1 | 0
Bittium | Bittium Faros 360 | 3.3 | 3.7 | Bittium Faros 360 | 2019-01-01 | Current | Clinical |  | CPU + electrodes | Chest | L48xW13xH29 | 18 | No | Yes | No | No | No | No | No | No | Yes | No | No | No |  | Yes | 168 | Device charger | 90 | No | No | Yes | micro-USB; Bluetooth classic | Yes | No | 4320 |  | Yes | No | Yes | No validation | 0 | 0
Bittium | Bittium Faros 180 | 3.3 | 3.7 | Bittium Faros 180 | 2019-01-01 | Current | Clinical |  | CPU + electrodes | Chest | L48xW13xH30 | 18 | No | Yes | No | No | No | No | No | No | Yes | No | No | No |  | Yes | 168 | Device charger | 90 | No | No | Yes | micro-USB; Bluetooth classic | Yes | No | 4320 |  | Yes | No | Yes | No validation | 0 | 0
Bittium | Bittium Faros 180L | 3.3 | 4 | Bittium Faros 180L | 2022-01-01 | Current | Clinical |  | CPU + electrodes | Chest | L48xW13xH31 | 18 | No | Yes | No | No | No | No | No | No | Yes | No | No | No |  | Yes | 336 | Device charger | 90 | No | No | Yes | micro-USB; Bluetooth classic | Yes | No | 4320 |  | Yes | No | Yes | No validation | 0 | 0
Oura | Oura Ring Gen3 | 7.3 | 4 | Oura Ring Gen3 | 2021-01-01 | Current | Consumer | 314 | Ring | Finger | sizes4-15 | 5 | Yes | No | No | No | No | No | No | No | Yes | No | No | Yes |  | Yes | 168 | Device charger | 80 | No | Yes | No | Bluetooth Low Energy; WiFi | Yes | Yes | 168 |  | Yes | No | Yes | External | 4 | 1
MindWare Technologies | MindWare Mobile | 2.7 | 7 | MindWare Mobile | 2014-01-01 | Current | Research | 5499 | CPU + electrodes | Hip | L117xW79xH47 | 370 | No | Yes | Yes | Yes | Yes | Yes | No | No | Yes | No | No | No | EOG | No | 48 | Device charger |  | No | No | Yes | WiFi; SD-card | Yes | No | 48 | 4000 | NA | No | Yes | No validation | 0 | 0
Novacor | Diasys 3 plus | 3 | 6.3 | Diasys 3 plus | 2020-01-01 | Current | Research | 2000 | CPU + strap | Hip | L85xW85xH25 | 195 | No | No | No | No | No | No | No | Yes | Yes | No | No | No |  | No |  | Disposable batteries |  | No | Yes | No | Cable USB-C | Yes | No |  |  | NA | No | Yes | External | 1 | 0
Carré Technologies Inc. | Hexoskin Proshirt | 3.7 | 7.7 | Hexoskin Proshirt | 2019-01-01 | Current | Research & Consumer | 600 | CPU + vest | Chest | Shirt: 2XS-4XL; CPU: L42xW72xH13 | 75 | No | Yes | No | No | Yes | No | No | No | Yes | No | No | No |  | Yes | 36 | Device charger | 90 | No | Yes | Yes | Own cable of the system (for transferring all collected data to the computer application); Bluetooth | Yes | Yes | 600 |  | Yes | No | Yes | External | 12 | 4
Apple | Apple Watch SE | 4.2 | 2.3 | Apple Watch SE | 2020-01-01 | Current | Consumer | 240 | Watch | Wrist | L44xW38xH10.7 | 36 | Yes | No | No | No | No | No | No | No | Yes | Yes | Yes | No | Microphone; Altimeter; Ambient Light Sensor | Yes | 18 | Device charger | 90 | Yes | Yes | No | Bluetooth 5.3 and WiFi 4 | Yes | Yes |  | 32000 | Yes | Yes | Yes | No validation | 0 | 0
Apple | Apple Watch Ultra 2 | 4 | 2.3 | Apple Watch Ultra 2 | 2023-01-01 | Current | Consumer | 899 | Watch | Wrist | L49xW44xH14.4 | 61 | Yes | Yes | No | No | No | No | No | No | Yes | Yes | Yes | Yes | Barometer;Altimeter; Ambient light sensor; Water temperature;Depth gauge;Microphone | Yes | 36 | Device charger | 90 | Yes | Yes | No | Bluetooth 5.3 and WiFi 3 | Yes | Yes |  | 64000 | Yes | Yes | Yes | No validation | 0 | 0
Apple | Apple Watch Series 9 | 5.3 | 3.3 | Apple Watch Series 9 | 2023-01-01 | Current | Consumer | 449 | Watch | Wrist | L41xW35xH10.7 | 32 | Yes | Yes | No | No | No | No | No | No | Yes | Yes | Yes | Yes | Barometer;Altimeter; Ambient light sensor;Microphone | Yes | 18 | Device charger | 75 | Yes | Yes | No | Bluetooth 5.3 and WiFi 4 | Yes | Yes |  | 64000 | Yes | Yes | Yes | No validation | 0 | 0
Apple | Apple Watch Series 8 | 6 | 3.7 | Apple Watch Series 8 | 2022-01-01 | Discontinued | Consumer | 400 | Watch | Wrist | L45xW38xH10.7 | 42 | Yes | Yes | No | No | No | No | No | No | Yes | Yes | Yes | Yes | Barometer;Altimeter; Ambient light sensor;Microphone | Yes | 18 | Device charger | 75 | Yes | Yes | No | Bluetooth 5.3 and WiFi | Yes | Yes |  | 32000 | Yes | Yes | Yes | External | 4 | 2
BIOPAC | Research Ring | 3.3 | 4 | Research Ring | 2023-01-01 | Current | Research | 2020 | Ring | Finger | L11.4xW32.2xH42.7; ring size 6-13 | 9 | Yes | Yes | No | No | No | Yes | No | No | No | No | No | Yes |  | Yes | 10 | Device charger | 120 | No | Yes | Yes | Bluetooth Low-Energy | No | Yes | 0 |  | Yes | No | Yes | No validation | 0 | 0
NOWATCH | NOWATCH | 6 | 3.7 | NOWATCH | 2023-01-01 | Current | Consumer | 450 | Watch | Wrist | D37xHTBF | 50 | Yes | No | No | No | No | Yes | No | No | Yes | No | No | Yes | Barometer | Yes | 144 | Device charger |  | Yes | Yes | Yes | Bluetooth | Yes | Yes | 24 |  | Yes | No | Yes | No validation | 0 | 0
Google | Pixel Watch 1 | 4 | 2.7 | Pixel Watch 1 | 2022-01-01 | Discontinued | Consumer | 325 | Watch | Wrist | D41xH12.3 | 36 | Yes | Yes | No | No | No | No | No | No | Yes | Yes | Yes | No | Compass; Altimeter; Ambient Light Sensor | Yes | 24 | Device charger | 110 | Yes | Yes | No | Bluetooth 5.0 | Yes | Yes |  | 32000 | Yes | Yes | Yes | No validation | 0 | 0
Google | Pixel Watch 2 | 6.3 | 4.3 | Pixel Watch 2 | 2023-01-01 | Current | Consumer | 399 | Watch | Wrist | D41xH12.3 | 31 | Yes | Yes | No | No | No | Yes | No | No | Yes | Yes | Yes | Yes | Compass; Altimeter; Ambient Light Sensor; Barometer; Magnetometer | Yes | 24 | Device charger | 75 | Yes | Yes | No | Bluetooth 5.1 | Yes | Yes |  | 32000 | Yes | Yes | Yes | No validation | 0 | 0
Corsano | Corsano Cardiowatch 287-2 | 6.7 | 5 | Corsano Cardiowatch | 2022-01-01 | Current | Clinical |  | Watch | Wrist | L25xW40xH10 | 19 | Yes | Yes | No | No | No | Yes | No | Yes | Yes | No | No | Yes |  | Yes | 264 | Device charger |  | No | No | Yes | Bluetooth BLE 5.0 | Yes | Yes | 256 |  | Yes | Yes | Yes | No validation | 0 | 0
Corsano | Corsano Cardiowatch 287-1 | 6 | 4.3 | Corsano Cardiowatch |  | Current | Clinical |  | Watch | Flexible | L36xW25xH9 | 15 | Yes | No | No | No | No | No | No | No | Yes | No | No | No |  | Yes | 168 | Device charger |  | No | No | Yes | Bluetooth BLE | Yes | Yes | 64 |  | Yes | Yes | Yes | External | 1 | 0
Biospace Inc. | InBody BAND 2 | 3.7 | 2.7 | InBody BAND 2 | 2017-01-01 | Current | Consumer | 149 | Watch | Wrist | L25.4xW17.78xH10.16 | 20 | No | Yes | No | No | No | No | No | No | Yes | No | No | No | Bioelectrical impedance | Yes | 336 | Device charger | 60 | No | Yes | No | Bluetooth | Yes | Yes | 336 |  | Yes | No | Yes | External | 1 | 0
Fitbit | Sense | 7.3 | 4.3 | Fitbit Sense | 2020-01-01 | Discontinued | Consumer | 150 | Watch | Wrist | L40.4xW40.4xH12.4 | 46 | Yes | Yes | No | No | No | Yes | No | No | Yes | Yes | Yes | Yes | Ambient light; altimeter; | Yes | 144 | Device charger | 120 | Yes | Yes | No | Bluetooth 5.0; NFC; | Yes | Yes | 168 | 4000 | Yes | Yes | Yes | External | 5 | 0
Fitbit | Sense 2 | 8 | 5.7 | Fitbit Sense 2 | 2022-01-01 | Current | Consumer | 223 | Watch | Wrist | L40.5xW40.5xH12.3 | 38 | Yes | Yes | No | No | No | Yes | No | No | Yes | Yes | Yes | Yes | Ambient light; | Yes | 144 | Device charger | 120 | Yes | Yes | No | Bluetooth 5.0; NFC; | Yes | Yes | 168 | 4000 | Yes | Yes | Yes | No validation | 0 | 0
Garmin | vivoactive 4 | 6.3 | 3.7 | Vivoactive 4 | 2019-01-01 | Discontinued | Consumer | 299 | Watch | Wrist | D40xH12.7 | 50 | Yes | No | No | No | No | No | No | No | Yes | Yes | No | No | Blood oxygen saturation sensor; Glonass; Galileo; Compass; Ambient light; Ambient temperature sensor; barometric altimeter | Yes | 192 | Device charger |  | Yes | Yes | No | Bluetooth, ANT+, Wi-Fi | Yes | Yes | 200 |  | Yes | Yes | Yes | External | 4 | 0
Garmin | Vivoactive 5 | 6.8 | 3.3 | Vivoactive 5 | 2023-01-01 | Current | Consumer | 300 | Watch | Wrist | D42.2xH11.1 | 26 | Yes | No | No | No | No | No | No | No | Yes | Yes | No | No | Blood oxygen saturation sensor; Glonass; Galileo; Compass; Ambient light; Ambient temperature sensor | Yes | 264 | Device charger | 120 | Yes | Yes | No | Bluetooth, ANT+, Wi-Fi | Yes | Yes | 264 |  | Yes | Yes | Yes | No validation | 0 | 0
WHOOP | WHOOP 4.0 | 6.7 | 4 | WHOOP 4.0 | 2021-01-01 | Current | Consumer | 30 | Adjustable strap | Wrist | L43.18XW27.9XH10.16 | 28 | Yes | No | No | No | No | No | No | No | Yes | Yes | No | Yes | Pulse oximeter | Yes | 120 | Device charger; the device charger itself can be charged using a usb-c connector, and the device charger can then be clicked on the WHOOP itself for charging | 150 | Yes | Yes | No | Bluetooth 4.2 or higher; WiFi | Yes | Yes | 336 |  | Yes | No | Yes | No validation | 0 | 0
WHOOP | WHOOP 3.0 | 6.8 | 4 | WHOOP 3.0 | 2019-01-01 | Discontinued | Consumer | 30 | Adjustable strap | Wrist | L43.18XW27.9XH10.17 | 18 | Yes | No | No | No | No | No | No | No | Yes | Yes | No | No |  | Yes | 120 | Device charger; the device charger itself can be charged using a usb-c connector, and the device charger can then be clicked on the WHOOP itself for charging | 150 | No | Yes | No | Bluetooth | Yes | Yes | 72 |  | Yes | No | Yes | External | 4 | 1
Circular | Circular Slim | 4.5 | 2 | Circular Slim | 2023-01-01 | Current | Consumer | 263 | Ring | Finger | D8.8xH2.2 | 2 | Yes | No | No | No | No | No | No | No | Yes | No | No | Yes | SpO2 | Yes | 120 | Device charger | 45 | Yes | Yes | No | Bluetooth Smart | Yes |  | 240 |  |  | No | Yes | No validation | 0 | 0
movisens | EcgMove4 | 5.8 | 8 | EcgMove4 | 2021-01-01 | Current | Research | 2089 | CPU + strap | Chest | L11.5XW62.3XH38.6 | 26 | No | Yes | No | No | No | No | No | No | Yes | Yes | No | Yes | Barometer | Yes | 72 | Device charger | 60 | Yes | Yes | Yes | USB cable; Bluetooth Smart 4.0 | Yes | No | 336 | 4000 | Yes | No | Yes | External | 1 | 0
Withings | Scanwatch | 6.8 | 3 | Scanwatch | 2021-01-01 | Current | Consumer | 299.95 | Watch | Wrist | D38xH13.2 | 58 | Yes | Yes | No | No | No | No | No | No | Yes | No | No | No |  | Yes | 720 | Device charger | 120 | Yes | Yes | No | Bluetooth BLE | Yes | Yes |  |  | Yes | Yes | Yes | External | 10 | 0
Withings | Scanwatch 2 | 5.7 | 2.7 | Scanwatch 2 | 2023-01-01 | Current | Consumer | 349.95 | Watch | Wrist | D38.4xH13.4 | 35 | Yes | Yes | No | No | No | No | No | No | Yes | No | No | Yes | Altimeter | Yes | 720 | Device charger | 120 | Yes | Yes | No | Bluetooth BLE | Yes | Yes | 168 |  | Yes | Yes | Yes | No validation | 0 | 0
Spacelabs | OnTrak | 2.3 | 6.7 | OnTrak | 2019-01-01 | Current | Research & Clinical | 3249 | CPU + strap | Hip | L10.15xH2.76xW7.0 | 172 | No | No | No | No | No | No | No | Yes | Yes | No | No | No |  | No | 168 | Disposable batteries |  | Yes | Yes | No | Cable | Yes | No |  |  | Yes | Yes | Yes | External | 1 | 0
Garmin | Vivosmart 5 | 7 | 3.3 | Vivosmart 5 | 2022-01-01 | Current | Consumer | 150 | Watch | Wrist | L19.5 x W10.7 x H217 | 25 | Yes | No | No | No | No | No | No | No | Yes | No | No | No | Ambient light sensor; blood oxygen saturation sensor | Yes | 168 | Device charger | 90 | Yes | Yes | No | Bluetooth Smart; ANT+ | Yes | Yes | 336 |  | Yes | No | Yes | No validation | 0 | 0
Garmin | Vivosmart 4 | 7.5 | 3.7 | Vivosmart 4 | 2018-01-01 | Discontinued | Consumer | 150 | Watch | Wrist | L15 x W10.5 x H197 | 17 | Yes | No | No | No | No | No | No | No | Yes | No | No | No | Ambient light sensor; blood oxygen saturation sensor; barometric altimeter | Yes | 168 | Device charger | 120 | Yes | Yes | No | Bluetooth | Yes | Yes | 336 |  | Yes | No | Yes | External | 4 | 1
Garmin | Index BPM Smart Blood Pressure | 2 | 4.7 | Index BPM Smart Blood Pressure | 2022-01-01 | Current | Consumer | 176 | CPU + strap | Upper arm | L58 x W145 x H47 | 320 | No | No | No | No | No | No | No | Yes | No | No | No | No |  | No | 6480 | Disposable batteries |  | Yes | Yes | NA | Wi-Fi; Bluetooth | Yes | Yes |  |  | Yes | Yes | Yes | Internal | 1 | 0
SkyLabs | CART BP | 4 | 1.7 | CART BP | 2023-01-01 | Current | Clinical & Consumer | 447 | Ring | Finger |  | 4 | Yes | No | No | No | No | No | No | Yes | No | No | No | No |  | Yes | 48 | Device charger | 120 | No | No | No | Bluetooth | Yes |  | 24 |  |  | No | No | No validation | 0 | 0
Amazfit | Helio Ring | 5.2 | 3 | Helio Ring | 2024-01-01 | Current | Consumer | 300 | Ring | Finger | sizes 8, 10, 12 | 4 | Yes | No | No | No | No | Yes | No | No | Yes | Yes | No | Yes | Blood oxygen saturation sensor | Yes | 96 | Device charger (wireless) | 100 | Yes | Yes | No | BLE | Yes | Yes |  |  | Yes | No | Yes | No validation | 0 | 0
BioStrap | Biostrap Kairos | 4.3 | 2.3 | Biostrap Kairos | 2023-01-01 | Current | Clinical & Consumer | 275.32 | Adjustable strap | Flexible | L36xW22xH12.5 | 10 | Yes | No | No | No | No | No | No | No | Yes | Yes | No | No | Blood oxygen saturation sensor | Yes | 192 | Device charger | 120 | No | Yes | No | Bluetooth 5.0 | Yes |  |  | 64 | Yes | No | Yes | No validation | 0 | 0
CardioMood | CardioMood 287-2 | 4.8 | 2.3 | CardioMood 287-2B | 2023-01-01 | Current | Research & Consumer | 499 | Wrist strap | Wrist | 40Lx25Hx10W |  | Yes | No | No | No | No | Yes | No | No | Yes | No | No | No | heat flux; SpO2 | Yes | 240 | Device charger |  | No | Yes | Yes | Bluetooth 5.0 | Yes | Yes |  | 64 | Yes | No | Yes | No validation | 0 | 0
Samsung | Galaxy Ring |  |  | Galaxy Ring | 2024-01-01 | Current | Consumer | 449 | Ring | Finger | sizes 5-15 | 3 | Yes | No | No | No | No | No | No | No | Yes | No | No | Yes | Blood oxygen saturation sensor | Yes | 168 | Device charger | 80 |  | Yes | No | BLE 5.4 | Yes | Yes |  | 8000 | Yes | No |  | No validation | 0 | 0
Google | Pixel Watch 3 |  |  | Pixel Watch 3 | 2024-01-01 | Current | Consumer | 399 | Watch | Wrist | D41xH12.3 | 31 | Yes | Yes | No | No | No | Yes | No | No | Yes | Yes | Yes | Yes | SpO2; Compass; Altimeter; Ambient Light Sensor; Barometer; Magnetometer | Yes | 36 | Device charger | 60 | Yes | Yes | No | Bluetooth 5.0; Ultra-wideband; Wi-Fi 802.11 | Yes | Yes |  | 32000 | Yes | No | Yes | No validation | 0 | 0
AD Instruments | Equivital eq02+ Lifemonitor | 3 | 6.8 | Equivital eq02+ Lifemonitor | 2021-01-01 | Current | Research | 1977 | CPU + vest | Chest | 78x55x11 | 38 | No | Yes | No | No | Yes | Yes | No | Yes | Yes | No | No | Yes | Core temperature; Oximeter | Yes | 48 | Device charger; either a dedicated USB compatible cable, or a docking station for charging up to 6 modules | 60 | Yes | Yes | Yes | cable; system specific-USB cable; Bleutooth Compliance version 2.1 | Yes |  | 1200 | 8000 | Yes | Yes | Yes | External | 4 | 0
Medtronic Zephyr | BioHarness 3.0 | 5.4 | 6.5 | BioHarness |  | Current | Research & Consumer | 766 | CPU + electrodes | Chest | 28Dx7H | 18 | No | Yes | No | No | Yes | No | No | No | Yes | No | Yes | No |  | Yes | 35 | Device charger | 180 | No | No | No | cable; system specific-USB cable; Bleutooth Compliance version 2.1 + EDR and version 4.0 | Yes | No | 450 |  | Yes | Yes | Yes | External | 6 | 0
RingConn | RingConn Gen2 |  |  | RingConn Gen2 | 2024-01-01 | Current | Consumer | 275 | Ring | Finger | sizes 6-14 | 3 | Yes | No | No | No | No | No | No | No | Yes | No | No | Yes | SpO2 | Yes | 288 | Device charger | 120 | No | No | No | Bluetooth 5.0; Low power bluetooth module | Yes | Yes | 168 |  | Yes | No | Yes | Internal | 0 | 0
Ultrahuman | Ultrahuman Ring AIR | 4.2 | 2 | Ultrahuman Ring AIR | 2023-01-01 | Current | Consumer | 379 | Ring | Finger | sizes 5-14 | 2 | Yes | No | No | No | No | No | No | No | Yes | Yes | No | Yes | Sp02 | Yes | 144 | Device charger | 90 | No | Yes | No | Bluetooth Low Energy (BLE5) | Yes | Yes | 168 |  | No | No | Yes | No validation | 0 | 0
Nuanic | Nuanic Ring | 4.7 | 3 | Nuanic Ring | 2023-01-01 | Current | Research | 650 | Ring | Finger | sizes 7, 9, 10, 12 | 7 | No | No | No | No | No | Yes | No | No | No | No | No | No |  | Yes | 144 | Device charger | 30 | No | No | Yes | Bluetooth LE | Yes | No | 72 |  | Yes | No | Yes | External | 0 | 0
Cosinuss | c-med alpha | 4.3 | 6.3 | Cosinuss c-med alpha |  | Current | Clinical |  | Earable | Ear | L55.2xH58.6xH10.0 | 7 | Yes | No | No | No | No | No | No | No | Yes | No | No | No | SpO2; Core Temp | Yes | 12 | Device charger | 60 | No | No | No | Bluetooth BLE 5.0 | No | No | 0 |  | Yes | No | Yes | External | 2 | 1
Lumia Health | Lumia |  |  | Lumia | 2025-01-01 | Upcoming | Consumer | 379 | Earable | Ear |  | 1 | Yes | No | No | No | No | No | No | No | No | No | No | No |  | Yes | 48 | Solar panel; Device charger | 240 | No | Yes | No | Bluetooth 5.0 | Yes |  |  |  | No | No | No | No validation | 0 | 0
Plux | BioSignal kit | 2.5 | 7 | Plux BioSignal kit | 2024-01-01 | Current | Research | 2510 | CPU + electrodes | Flexible | 54Hx85Lx10W | 45 | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | No | No | Yes | Blood pulse volume finger clip sensor; SpO2 finger clip sensor; Force sensor; Goniometer; Electrooculography sensor;Light (LUX) sensor; Functional Near-Infrared Spectroscopy (FNIRS) sensor; Piezo-Electric Respiration; Electrogastrography (EGG) sensor. |  | 12 | Device charger | 150 | No | No | Yes | Bluetooth 2.0+EDR, USB calbe to download stored data from memory (optional extra) | Yes | No | 111 | 8000 | Yes | No | Yes | No validation | 0 | 0
Plux | respiBAN BLE | 2.5 | 5 | Plux respiBAN BLE | 2024-01-01 | Current | Research | 907.5 | CPU + strap | Chest | 31Hx71Lx11W | 27 | No | No | No | No | Yes | No | No | No | Yes | Yes | No | No |  |  | 10 | Device charger |  | No | No | Yes | Bluetooth required to transfer from device to phone; Flexible methods to transfer from phone application to computer. | Yes | No | 10 |  | Yes | No | No | No validation | 0 | 0
Shimmer | Shimmer3 EMG Unit | 2.8 | 5.6 | Shimmer3 EMG Unit | 2014-01-01 | Current | Research | 538 | CPU + electrodes | Flexible | L65xW32xH12 | 32 | No | Yes | No | Yes | No | No | No | No | Yes | Yes | No | No | Altimeter; Magnetometer | No | 14 | Device charger; a Shimmer Dock, Multi Charger, a Shimmer charging cable or a Consensys Base |  | No | No | Yes | MicroSD card; Bluetooth | Yes | Yes |  | 8000 | Yes | No | Yes | External | 0 | 1
Polar | H10 | 7.5 | 7 | Polar H10 | 2017-01-01 | Current | Research & Consumer | 99.9 | Chest strap | Chest | L65xW34XH10 | 60 | No | Yes | No | No | No | No | No | No | Yes | No | No | No |  | Yes | 400 | Disposable batteries |  | No | Yes | No | Bluetooth (version not specified); ANT+, 5 khz | Yes | Yes |  |  | Yes | No | Yes | External | 17 | 2